DOCUMENTATION/RECORDATION PLAN

For

Jones-Lee House, Greenville Art Museum & former Pure Oil Service Station

Evans Street, Greenville, North Carolina

I.    	Historical Background: A brief historical and physical narrative/description of each of the buildings should be prepared to include the following:

- Date of construction

- Architect/builder, if known

- Owners and uses of the building since construction

- Size and sketch plan of building

- Materials and any significant architectural details or elements

II.	Photographic Requirements: Photographic views of the buildings and associated facilities, including:

- Overall views.

- Each visible elevation.

- Exterior and interior details of construction or design including architecturally significant elements.

- Streetscapes showing the relationship of the buildings to the street and adjoining properties, if possible.

- Sketch site plan keyed to photographs listed above.

- Format: Traditional or Digital

Digital Images on CD, (must be accompanied with prints of each image):

- Use at least a 3 megapixel camera

- May be jpeg format

- Must be at least 2100 pixels x 1500 pixels (300 ppi for a 5” x 7”)

- Label files as follows: County Name, Property Name, Describe View/ Image, Photographer Name, Photo Date, Photo Number jpg.

- Prints – 5” x 7” in color, on good quality photo paper.

Traditional

- 35mm. or larger black and white negatives (all views).

- 8 x 10 black and white prints (all views).  Color slides (all views).

- All processing to be done to archival standards. Fiber based paper is the traditional archival standard. According to Kodak, however, their resin-coated paper meets archival standards if it is stored in total darkness (in an envelope) and at low humidity.

- All photographs, negatives, and slides to be labeled according to Division of Archives and History standards (County Name, Property Name, Describe View/ Image, Photographer Name, Photo Date).

- Copies and Curation:

- One (1) set of all CD’s, negatives, prints, slides, and historical background will be deposited with the North Carolina State Historic Preservation Office to be made a permanent part of the statewide survey and iconographic collection. Copies of all prints and written information will be provided to the Eastern Office of Archives & History and Greenville Historic Preservation Commission.